Purpose

This work instruction describes the process for replacing the label of the MX5 Centrifuge

These repair instructions are valid for Revision G of the MX5 Centrifuge (101072-G and 100900-G) as well as any previous revisions that are compatible with the label (100929).

Equipment/Software

| ITEM # | PART # | DESCRIPTION | QTY. |
| --- | --- | --- | --- |
| 1 | 100929 | UI Label; raised button pads; blue & white; MX5 Centrifuge | 1 |

Instructions

Confirm that all necessary components are present to complete the conversion.

Carefully remove the damaged front label from the unit.

Replace the label with a new 100929 label.

Turn on the unit and verify all buttons are functional with the new label.