|  | Vertiv (A.B.N. 53 003 469 654) Commissioning Request Form For Air ANZ-SVC-COMRA-FM-1751 Version 1 |
| --- | --- |

## HPAC COMMISSIONING REQUEST

### PLEASE COMPLETE & RETURN URGENTLY TO:

### E-mail:  mark.javernig@vertiv.com & wes.bain@vertiv.com

| purchaser: (No abbreviations) |  | purchaser contact: |  |
| --- | --- | --- | --- |
| site name: (No abbreviations |  | unit sales order no: |  |
| site contact person: |  | commissioning sales order no: |  |
| site contact no: |  | service request no: |  |
| complete site address: |
| requested commissioning date and time: |
| site information/notes: |
|  | REQUIRED SETPOINTS |
| Unit No. | Serial No. | Model No. | Air on Temp | Humidity |
| installation details | yes | no |  | yes | no | refrigerant |
| Power Connected/Available |  |  | Cooling Tower Interlock |  |  | R410 |  |
| Humidifier Water Connected/Available |  |  | BMS Interface |  |  | R407 |  |
| Condensate Drain Connected |  |  | Heat Load Available |  |  |  |
| Water Under Floor Sensor Connected |  |  | Chilled Water |  |  |  |
| Under Raised Floor Cleaned |  |  | Chilled Water Temp./Flow | (C | l/sec. |
| Floor Grilles Installed |  |  | Condenser Water |  |  |  |  |
| Room Vapour Sealed |  |  | Condenser Water Temp./Flow | (C | l/sec. |
| Approx. length of pipe run (metres) |  | Oil added (litres) |  |  | litres |
| Evacuation, Vacuum Level Achieved on Air Cooled Systems | microns |
| NOTE: 1) We require a minimum of FIVE (5) Working Days notice prior to the expected commissioning date. 2) A charge will apply at current Vertiv rates for technician’s waiting time should they be unable to commence work at the arranged time. 3) Cancellation/Changes prior to proposed date may incur an additional FIVE (5) working days waiting period. 4) This form will be rejected if the serial number is not provided or minimum mandatory requirement fields are not completed. 5) This form once submitted is a legal binding document. 6) Once on site, should a Vertiv technician find any information supplied in this request form to be incorrect, they reserve the right to consult Vertiv management as to how to proceed. I confirm that the installation complies with Vertiv installation terms and conditions. Name Signature: (Please print) |

Vertiv Pty ltd. australia

15 Talavera Rd, Level 6, Suite A, North Ryde, nsw, 2113.  ph:  02 9743 8555/fax: 02 9644-5995